## Sheet1
| Specifying Renewable Energy Demand | [6 empty] | Customer |  |  | dd.yy.2009
| Small-scale domestic with Energy Efficient Comparison | [6 empty] | Solar Kit 2
AC Appliance: | Units: | Daily Hours: |  |  | Appliance Watts = |  | Simultan- eous Use: | Daily Watt hours: | Energy Efficient Alternative:
(Amps*1)
Lights, low-energy | 4 | 5 |  |  |  | 10 | 10 | 200 | 200
Micro-wave | 1 | 0.1 |  |  |  | 1264 | 1264 | 126.4 | 65 | 650 Watt unit
Toaster | 1 | 0.03 |  |  |  | 700 |  | 21 | 0
Vac. Cleaner | 1 | 0.16 |  |  |  | 1200 |  | 192 | 192
Fridge/Freezer*2 | 1 | 10 |  |  |  | 120 | 120 | 1200 | 0 | See DC Freezer option
PC | 1 | 2 |  |  |  | 110 | 110 | 220 | 0 | Laptop only
Laptop | 1 | 2 |  |  |  | 75 |  | 150 | 150
Printer | 1 | 0.04 |  |  | 2.23 | 30 |  | 1.2 | 1.2
Cooler | 1 | 0 |  |  |  | 100 |  | 0 | 0
Shredder | 1 | 0.04 |  |  |  | 100 |  | 4 | 4
CD player | 1 | 1 |  |  |  | 15 |  | 15 | 0
AnswerPhone | 0 | 24 |  |  | 0.4 | 4.8 |  | 0 | 0
TV/DVD | 1 | 2 |  |  |  | 80 |  | 160 | 160
Cellph.Recharge | 1 | 0.5 |  |  | 1.55 | 18.6 |  | 9.3 | 9.3
Recliner | 1 | 0.05 |  |  |  | 800 |  | 40 | 0
Bore hole Pump | 0 | 0.2 |  |  |  | 600 |  | 0 | 0
AC Appliance | 0 | 0.5 |  |  |  | 100 |  | 0 | 0
TOTAL WATTS PER DAY ==> | [7 empty] | 2338.9 | 781.5 | WattHours
*1 If stated in Amps, multiply by DC system Volts |  |  |  | (Remember: W = V x A)
*2 See DC FREEZER - independent solar direct unit requires only 1 PV module
Calculating Battery size, Inverter capacity, and Solar PV rating:
Total Daily Watt Hours Used from last column = | [7 empty] | 2338.9 | 781.5 | WattHours
Allowing for 3+ days without sun, rough battery estimate = | [7 empty] | 7016.7 | 2344.5
Safe battery size in Watts, i.e. 50% discharge = | [7 empty] | 14033.4 | 4689
Converted to Amp Hours, at 12 DC System Volts = | [7 empty] | 1169.45 | 390.75 | AmpHours
SIZING YOUR SYSTEM:
1. Recommended Safe Battery capacity |  |  |  |  | è |  |  | 1169.45 | 390.75 | AmpHours
2. Recommended (Minimum) AC Inverter size |  |  |  |  | è |  |  | 1504 | 1384 | Watts
(Total simultaneous loading)
3. Recommended Solar Array |  |  | (at an avg: | 4.5 | sun hours / day) |  |  | 675.6822 | 225.7667 | Watts
(allowing 70% efficency of solar PV output)